## Cover
SSE plc Investor Databook
Last updated November 2023
Prepared on a best endeavours basis
Please contact ir@sse.com with any questions
Table of Contents (Linked)
SSE Renewables - Wind asset list
SSE Renewables - Hydro asset list
SSE Renewables output
SSE Renewables project pipeline
SSE Thermal asset list and pipeline
SSE Thermal output
GB Capacity Market contract payments
Irish Capacity Market contract payments

## Wind Assets
SSE Operational Wind Capacity
Accurate as at 30 September 2023
| All Capacity | ROC | CfD | REFIT
Onshore (GB) - MW | 1285.4692 | 1247.4691 | 0 | 0
Onshore (NI) - MW | 117.1 | 117.1 | 0 | 0
Onshore (ROI) - MW | 566.78 | 0 | 0 | 433.15
Offshore (GB) - MW | 1013.95 | 252 | 457.2 | 0
Total Wind - MW | 2983.2991 | 1616.5691 | 457.2 | 433.15
Wind farms | Country | Onshore/ Offshore | Capacity (MW) | No. Turbines | SSE Stake (%) | SSE Stake (MW) | JV partner | SSE Operated | ROC contract (MW, SSE share) | ROCs end date | CfD (MW) | Cfd Price £/MWh | CfD end date | REFIT (MW) | Re-Fit End Date | Notes
Achany | Scotland | Onshore | 38 | 19 | 100% | 38 | n/a | Yes | 38 | 2030-06-18 | n/a | n/a | n/a | 0 | n/a
Artfield Fell | Scotland | Onshore | 19.5 | 15 | 100% | 19.5 | n/a | Yes | 19.5 | 2027-03-31 | n/a | n/a | n/a | 0 | n/a
Balmurrie Fell | Scotland | Onshore | 9.1 | 7 | 100% | 9.1 | n/a | Yes | 9.1 | 2032-07-03 | n/a | n/a | n/a | 0 | n/a
Bhlaraidh | Scotland | Onshore | 108 | 32 | 100% | 108 | n/a | Yes | 108 | 2037-03-02 | n/a | n/a | n/a | 0 | n/a | ROC at 0.9/MWh
Cathkin Braes | Scotland | Onshore | 3 | 1 | 100% | 3 | n/a | Yes | 3 | 2033-03-22 | n/a | n/a | n/a | 0 | n/a
Clyde (original) | Scotland | Onshore | 349.6 | 152 | 50.1% | 175.1496 | Greencoat 28.2%, GLIL 21.7% | Yes | 175.1496 | Jul-31 - Aug-32 | n/a | n/a | n/a | 0 | n/a
Clyde Extension | Scotland | Onshore | 172.8 | 54 | 50.1% | 86.5728 | Greencoat 28.2%, GLIL 21.7% | Yes | 86.5728 | Oct-36 - Jan-37 | n/a | n/a | n/a | 0 | n/a | ROC at 0.9/MWh
Drumderg | Scotland | Onshore | 36.8 | 16 | 100% | 36.8 | n/a | Yes | 36.8 | 2027-03-31 | n/a | n/a | n/a | 0 | n/a
Dunmaglass | Scotland | Onshore | 94.05 | 33 | 50.1% | 47.1191 | Greencoat 49.9% | Yes | 47.1191 | 2036-09-13 | n/a | n/a | n/a | 0 | n/a | ROC at 0.9/MWh
Fairburn | Scotland | Onshore | 40 | 20 | 100% | 40 | n/a | Yes | 40 | 2029-10-14 | n/a | n/a | n/a | 0 | n/a
Gordonbush | Scotland | Onshore | 70 | 35 | 100% | 70 | n/a | Yes | 70 | 2031-12-13 | n/a | n/a | n/a | 0 | n/a
Gordonbush extension | Scotland | Onshore | 38 | 11 | 100% | 38 | n/a | Yes | - | n/a | n/a | n/a | n/a | 0 | n/a
Griffin | Scotland | Onshore | 156.4 | 68 | 100% | 156.4 | n/a | Yes | 156.4 | 2031-07-05 | n/a | n/a | n/a | 0 | n/a
Calliachar | Scotland | Onshore | 32.2 | 14 | 100% | 32.2 | n/a | Yes | 32.2 | 2033-03-15 | n/a | n/a | n/a | 0 | n/a
Hadyard Hill | Scotland | Onshore | 119.6 | 51 | 100% | 119.6 | n/a | Yes | 119.6 | 2027-03-31 | n/a | n/a | n/a | 0 | n/a
Spurness | Scotland | Onshore | 10 | 5 | 100% | 10 | n/a | Yes | 10 | 2032-10-22 | n/a | n/a | n/a | 0 | n/a
Strathy North | Scotland | Onshore | 67.65 | 33 | 100% | 67.65 | n/a | Yes | 67.65 | 2035-06-26 | n/a | n/a | n/a | 0 | n/a
Stronelairg | Scotland | Onshore | 227.7 | 66 | 50.1% | 114.0777 | Greencoat 49.9% | Yes | 114.0777 | 2037-03-31 | n/a | n/a | n/a | 0 | n/a | ROC at 0.9/MWh
Tangy | Scotland | Onshore | 12.75 | 15 | 100% | 12.75 | n/a | Yes | 12.75 | 2027-03-31 | n/a | n/a | n/a | 0 | n/a
Tangy Ext | Scotland | Onshore | 5.95 | 7 | 100% | 5.95 | n/a | Yes | 5.95 | 2029-03-19 | n/a | n/a | n/a | 0 | n/a
Toddleburn | Scotland | Onshore | 27.6 | 12 | 100% | 27.6 | n/a | Yes | 27.6 | 2030-02-12 | n/a | n/a | n/a | 0 | n/a
Keadby | England | Onshore | 68 | 34 | 100% | 68 | n/a | Yes | 68 | 2033-09-13 | n/a | n/a | n/a | 0 | n/a
Bessy Bell 2 | Northern Ireland | Onshore | 9 | 6 | 100% | 9 | n/a | Yes | 9 | 2027-03-31 | n/a | n/a | n/a | 0 | n/a
Glenconway | Northern Ireland | Onshore | 18.4 | 8 | 100% | 18.4 | n/a | Yes | 18.4 | 2033-03-16 | n/a | n/a | n/a | 0 | n/a
Glenconway 2 | Northern Ireland | Onshore | 27.6 | 12 | 100% | 27.6 | n/a | Yes | 27.6 | 2033-03-16 | n/a | n/a | n/a | 0 | n/a
Slieve Kirk | Northern Ireland | Onshore | 27.6 | 12 | 100% | 27.6 | n/a | Yes | 27.6 | 2031-10-26 | n/a | n/a | n/a | 0 | n/a
Tievenameenta | Northern Ireland | Onshore | 34.5 | 15 | 100% | 34.5 | n/a | Yes | 34.5 | 2036-10-09 | n/a | n/a | n/a | 0 | n/a | ROC at 0.9/MWh
Athea | Rep. of Ireland | Onshore | 34.35 | 16 | 100% | 34.35 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 34.4 | 2028-10-14
Bindoo | Rep. of Ireland | Onshore | 48 | 32 | 100% | 48 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 48 | 2022-03-15
Boggerah Wind farm | Rep. of Ireland | Onshore | 57 | 19 | 47.5% | 28.5 | Craydel ltd 47.5%; 5% other | No | 0 | n/a | n/a | n/a | n/a | 27.9 | 2022-09-01
Coomacheo | Rep. of Ireland | Onshore | 41.4 | 18 | 100% | 41.4 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 41.2 | 2023-11-01
Coomatalin | Rep. of Ireland | Onshore | 6 | 4 | 100% | 6 | n/a | Yes | 0 | n/a | n/a | n/a | n/a
Corneen | Rep. of Ireland | Onshore | 3 | 2 | 100% | 3 | n/a | Yes | 0 | n/a | n/a | n/a | n/a
Culliagh | Rep. of Ireland | Onshore | 11.88 | 18 | 100% | 11.88 | n/a | Yes | 0 | n/a | n/a | n/a | n/a
Curragh | Rep. of Ireland | Onshore | 18.4 | 8 | 100% | 18.4 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 18.9 | 2024-10-01
Dromada | Rep. of Ireland | Onshore | 28.5 | 19 | 100% | 28.5 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 28.5 | 2025-02-27
Dunneill | Rep. of Ireland | Onshore | 11.05 | 13 | 100% | 11.05 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 11 | 2025-07-26
Galway (CGT) | Rep. of Ireland | Onshore | 66 | 22 | 100% | 66 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 64 | 2032-06-01
Galway (Cloosh) | Rep. of Ireland | Onshore | 108 | 36 | 25% | 27 | Greencoat 75% | Yes | 0 | n/a | n/a | n/a | n/a | 26.25 | 2032-10-01
Gartnaneane | Rep. of Ireland | Onshore | 15 | 10 | 100% | 15 | n/a | Yes | 0 | n/a | n/a | n/a | n/a
Kingsmountain | Rep. of Ireland | Onshore | 25 | 10 | 100% | 25 | n/a | Yes | 0 | n/a | n/a | n/a | n/a
Knockastanna | Rep. of Ireland | Onshore | 6 | 4 | 100% | 6 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 6 | 2024-04-01
Leanamore | Rep. of Ireland | Onshore | 18 | 9 | 100% | 18 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 20.7 | 2032-12-31
Meentycat | Rep. of Ireland | Onshore | 72.4 | 38 | 100% | 72.4 | n/a | Yes | 0 | n/a | n/a | n/a | n/a
Meentycat (Meenbog Ext) | Rep. of Ireland | Onshore | 6.9 | 3 | 100% | 6.9 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 6.9 | 2025-03-01
Meentycat (Cark Ext) | Rep. of Ireland | Onshore | 9.2 | 4 | 100% | 9.2 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 9.2 | 2025-03-01
Midas Windfarm | Rep. of Ireland | Onshore | 32.45 | 23 | 49% | 16.2 | Craydel ltd 51% | No | 0 | n/a | n/a | n/a | n/a | 16.2 | 2022-09-01
Mullananalt | Rep. of Ireland | Onshore | 7.5 | 5 | 100% | 7.5 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 7.5 | 2023-04-26
Rathcahill | Rep. of Ireland | Onshore | 12.5 | 5 | 100% | 12.5 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 12.5 | 2026-07-01
Richfield | Rep. of Ireland | Onshore | 27 | 18 | 100% | 27 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 27 | 2021-12-01
Tournafulla 1 | Rep. of Ireland | Onshore | 7.5 | 5 | 100% | 7.5 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 7.5 | 2022-04-01
Tournafulla 2 | Rep. of Ireland | Onshore | 19.5 | 13 | 100% | 19.5 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 19.5 | 2023-05-05
Seagreen | Scotland | Offshore | 1075 | 114 | 49% | 526.75 | Total | Yes | - | n/a | 222 | £41.61/MWh | 2043-03-31 |  |  | Cfd in 2012 prices inflated by CPI
Beatrice | Scotland | Offshore | 588 | 84 | 40% | 235.2 | CIP 35%, Red Rock 25% | Yes | 0 | n/a | 235.2 | £140/MWh | 2034-04-30 |  |  | Cfd in 2012 prices inflated by CPI
Greater Gabbard | England | Offshore | 504 | 140 | 50% | 252 | RWE 50% | Yes | 252 | Oct-31/Aug-32 | [5 empty] | ROC at 2/MWh
Total |  |  | 4683.33 |  |  | 2983.2992 |  |  | 1616.5691 |  | 457.2 |  |  | 433.15
Recent Disposals
Bessy Bell 1 | Northern Ireland | Onshore | 5 | 10 | 100% | 5 | n/a | Yes | 5 | 2027-03-31 | n/a | n/a | n/a | 0 | n/a | Sold July 2022
Walney | England | Offshore | 367.2 | 102 | 25.1% | 92.1672 | Orsted 50.1%; OPW 24.8% | No |  | 2031/32 | [5 empty] | Double ROC, SSE share sold to Greencoat Sept 2020
Slieve Divena 2 | Northern Ireland | Onshore | 18.8 | 8 | 100% | 18.8 | n/a | Yes |  | 2037-02-16 | [5 empty] | Sold to Greencoat February 2020
Notes
Prepared on best endeavours basis

## Hydro Assets
SSE Hydro Capacity
Accurate as at 30 September 2023
| All Capacity | ROC | Capacity Market
Conventional Hydro | 1159.198
Breakdown:
Run of River | 400
Flexible Running | 759 |  | 655
Pumped Storage | 300 |  | 300
Total SSE Hydro (MW) | 1459 | 502.448 | 955MW de-rated to ~900MW
Hydro Station | Location | Cascade | Installed MW | ROC contract | ROCS end date | Qualifies for Capacity Market*
Achanalt | Scotland | Conon Shin Affric Beauly | 3 | 3 | 2027-03-31
Aigas | Scotland | Conon Shin Affric Beauly | 20 | 20 | 2027-03-31
Beannachran | Scotland | Conon Shin Affric Beauly | 0.16 | 0.16 | 2027-03-31
Cassley | Scotland | Conon Shin Affric Beauly | 10 | 10 | 2027-03-31
Cuileig | Scotland | Conon Shin Affric Beauly | 3.2 | 3.2 | 2027-03-31
Culligran Comp Set | Scotland | Conon Shin Affric Beauly | 2.1 | 2.1 | 2027-03-31
Culligran Unit 2 | Scotland | Conon Shin Affric Beauly | 17 | 17 | 2027-03-31
Deanie | Scotland | Conon Shin Affric Beauly | 38 | 0 | n/a | Yes
Duchally | Scotland | Conon Shin Affric Beauly | 0.45 | 0.45 | 2027-03-31
Fasnakyle Compset | Scotland | Conon Shin Affric Beauly | 7.5 | 7.5 | 2027-03-31
Fasnakyle Power Station | Scotland | Conon Shin Affric Beauly | 69 | 0 | n/a | Yes
Grudie Bridge | Scotland | Conon Shin Affric Beauly | 18.66 | 18.66 | 2027-03-31
Kilmorack | Scotland | Conon Shin Affric Beauly | 20 | 20 | 2027-03-31
Lairg | Scotland | Conon Shin Affric Beauly | 3.5 | 3.5 | 2027-03-31
Luichart Dam | Scotland | Conon Shin Affric Beauly | 0.085 | 0.085 | 2027-03-31
Luichart Power Station | Scotland | Conon Shin Affric Beauly | 34 | 0 | n/a | Yes
Meig Dam | Scotland | Conon Shin Affric Beauly | 0.076 | 0.076 | 2027-03-31
Misgeach | Scotland | Conon Shin Affric Beauly | 0.35 | 0.35 | 2027-03-31
Mossford | Scotland | Conon Shin Affric Beauly | 18.66 | 18.66 | 2027-03-31
Mullardoch | Scotland | Conon Shin Affric Beauly | 2.4 | 2.4 | 2027-03-31
Orrin | Scotland | Conon Shin Affric Beauly | 18 | 18 | 2027-03-31
Orrin Dam | Scotland | Conon Shin Affric Beauly | 0.26 | 0.26 | 2027-03-31
Shin | Scotland | Conon Shin Affric Beauly | 18.6 | 18.6 | 2027-03-31
Shin Diversion | Scotland | Conon Shin Affric Beauly | 0.1 | 0.1 | 2027-03-31
Torr Achilty | Scotland | Conon Shin Affric Beauly | 15 | 15 | 2027-03-31
Vaich | Scotland | Conon Shin Affric Beauly | 0.32 | 0.32 | 2027-03-31
Ceannacroc | Scotland | Great Glen Foyers | 20 | 20 | 2027-03-31
Cluanie | Scotland | Great Glen Foyers | 0.3 | 0.3 | 2027-03-31
Dundreggan Dam | Scotland | Great Glen Foyers | 0.16 | 0.16 | 2027-03-31
Foyers Falls | Scotland | Great Glen Foyers | 5.2 | 5.2 | 2027-03-31
Glendoe | Scotland | Great Glen Foyers | 100 | 100 | 2028-03-31
Glenmoriston | Scotland | Great Glen Foyers | 37 | 0 | n/a | Yes
Invergarry | Scotland | Great Glen Foyers | 20 | 20 | 2027-03-31
Invergarry Dam | Scotland | Great Glen Foyers | 0.237 | 0.237 | 2027-03-31
Kingairloch | Scotland | Great Glen Foyers | 3.5 | 3.5 | 2027-03-31
Livishie | Scotland | Great Glen Foyers | 15 | 15 | 2027-03-31
Loyne | Scotland | Great Glen Foyers | 0.55 | 0.55 | 2027-03-31
Morar | Scotland | Great Glen Foyers | 0.75 | 0.75 | 2027-03-31
Mucomir (inc Compset) | Scotland | Great Glen Foyers | 1.95 | 0 | n/a
Quoich | Scotland | Great Glen Foyers | 18.05 | 18.05 | 2027-03-31
Quoich Dam | Scotland | Great Glen Foyers | 0.35 | 0.35 | 2027-03-31
Cashlie | Scotland | Tummel Breadalbane | 11 | 11 | 2027-03-31
Clunie Dam | Scotland | Tummel Breadalbane | 0.15 | 0.15 | 2027-03-31
Clunie Power Station | Scotland | Tummel Breadalbane | 61.2 | 0 | n/a | Yes
Cuaich | Scotland | Tummel Breadalbane | 2.5 | 2.5 | 2027-03-31
Dalchonzie | Scotland | Tummel Breadalbane | 4 | 4 | 2027-03-31
Errochty | Scotland | Tummel Breadalbane | 75 | 0 | n/a | Yes
Finlarig | Scotland | Tummel Breadalbane | 16.5 | 16.5 | 2027-03-31
Gaur | Scotland | Tummel Breadalbane | 7.9 | 7.9 | 2027-03-31
Lednock | Scotland | Tummel Breadalbane | 3 | 3 | 2027-03-31
Loch Ericht | Scotland | Tummel Breadalbane | 2.2 | 2.2 | 2027-03-31
Lochay Compset | Scotland | Tummel Breadalbane | 2 | 2 | 2027-03-31
Lochay FishPass | Scotland | Tummel Breadalbane | 0.04 | 0.04 | 2027-03-31
Lochay Power Station | Scotland | Tummel Breadalbane | 45 | 0 | n/a | Yes
Lubreoch | Scotland | Tummel Breadalbane | 4 | 4 | 2027-03-31
Pitlochry | Scotland | Tummel Breadalbane | 15 | 15 | 2027-03-31
Pitlochry Compset | Scotland | Tummel Breadalbane | 0.05 | 0.05 | 2027-03-31
Rannoch | Scotland | Tummel Breadalbane | 44.1 | 0 | n/a | Yes
St Fillans | Scotland | Tummel Breadalbane | 16.83 | 16.83 | 2027-03-31
Stronuich | Scotland | Tummel Breadalbane | 0.18 | 0.18 | 2027-03-31
Trinafour | Scotland | Tummel Breadalbane | 0.55 | 0.55 | 2027-03-31
Tummel | Scotland | Tummel Breadalbane | 34 | 0 | n/a | Yes
Truim compset | Scotland | Tummel Breadalbane |  |  | n/a
Allt na Lairige | Scotland | Sloy Awe | 6 | 6 | 2027-03-31
Awe Barrage | Scotland | Sloy Awe | 0.886 | 0.886 | 2027-03-31
Clachan | Scotland | Sloy Awe | 40 | 0 | n/a | Yes
Inverawe | Scotland | Sloy Awe | 25 | 0 | n/a | Yes
Kilmelford Compset | Scotland | Sloy Awe | 0.08 | 0.08 | 2027-03-31
Kilmelford | Scotland | Sloy Awe | 2 | 2 | 2027-03-31
Loch Gair | Scotland | Sloy Awe | 6 | 6 | 2027-03-31
Lussa | Scotland | Sloy Awe | 2.4 | 2.4 | 2027-03-31
Lussa Comp Set | Scotland | Sloy Awe |  |  | n/a
Nant | Scotland | Sloy Awe | 15 | 15 | 2027-03-31
Sloy | Scotland | Sloy Awe | 152.5 | 0 | n/a | Yes
Sron Mor | Scotland | Sloy Awe | 5 | 5 | 2027-03-31
Striven | Scotland | Sloy Awe | 8 | 8 | 2027-03-31
Tralaig | Scotland | Sloy Awe | 0.084 | 0.084 | 2027-03-31
Chliostair | Scotland | Small Hydro | 1.1 | 1.1 | 2027-03-31
Claddoch | Scotland | Small Hydro | 0.21 | 0.21 | 2027-03-31
Gisla | Scotland | Small Hydro | 0.72 | 0.72 | 2027-03-31
Kerry Falls | Scotland | Small Hydro | 1.25 | 1.25 | 2027-03-31
Loch Dubh | Scotland | Small Hydro | 1.2 | 1.2 | 2027-03-31
Nostie Bridge | Scotland | Small Hydro | 1.3 | 1.3 | 2027-03-31
Nostie Comp Set | Scotland | Small Hydro |  |  | n/a
Storr Lochs | Scotland | Small Hydro | 1.8 | 1.8 | 2027-03-31
Tobermory | Scotland | Small Hydro | 0 | 0 | 2027-03-31
Total Conventional Hydro |  |  | 1159.198 | 502.448
Foyers | Scotland | Pumped Storage | 300 | n/a | n/a | Yes
Pump Storage |  |  | 300
Notes
Prepared on best endeavours basis
Registered capacity will be higher that GB capacity market capacity due to its de-rating factor applied each year

## Ren. Output
SSE Renewables Output | Notes | Full year to 31/03/2023 | Full year to 31/03/2022 | Full year to 31/03/2021 | Full year to 31/03/2020 | Full year to 31/03/2019 | Full Year to 31/03/2018
Renewable Summary Totals |  | GWh | GWh | GWh | GWh | GWh | GWh
Hydro and Pumped Storage |  | 3338 | 3333.6 | 3720.1 | 3869.8 | 3543.0909 | 3429.893
Onshore wind |  | 4413.2 | 3962.3 | 3996.3 | 4579.9 | 4729.2318 | 4589.535
Offshore wind |  | 1845.8 | 1429.8 | 1845 | 2243.7 | 1439.1 | 1319
GB onshore constrained off output NOT included above |  | 455 | 469 | 592.3 | 687.3 | 687.19 | 405.8
GB offshore constrained off output NOT included above |  | 107 | 228 | 1.1 | 2.1 | 0 | 0
Total output including constrained off |  | 10159 | 9422.7 | 10154.8 | 11382.8 | 10398.6127 | 9744.228
HYDRO |  | GWh | GWh | GWh | GWh | GWh | GWh
Conventional Hydro Output |  | 3037 | 3106.8 | 3475.8 | 3742.8 | 3317.6 | 3170.6
Foyers Gross Generation | Site refurbishment outage November 2019 - May 2020 (unit 2) and August 2020 (unit 1) | 301 | 226.8 | 244.3 | 127 | 225.4909 | 259.293
ONSHORE |  | GWh | GWh | GWh | GWh | GWh | GWh
Achany |  | 79 | 85 | 82.8 | 80.5 | 76.8 | 81.9
Artfield Fell & Balmurrie Fell |  | 53 | 49.9 | 42.3 | 37.5 | 45.6 | 56.1
Bhlaraidh |  | 203.8 | 193.9 | 186.1 | 200.7 | 193.5 | 152.8
Clyde | 30% Stake in Clyde sold 18 March 2016, further 5% sold August 2017 and another 14.9% May 2018 | 657.3 | 585.8 | 597.3 | 657.5 | 673.3 | 805.485
Cathkin Braes |  | 7.3 | 6.3 | 7.9 | 7.9 | 7.8 | 9.3
Drumderg |  | 62.4 | 55.7 | 60.5 | 69.2 | 59.9 | 72
Dunmaglass | 49.9% sold to Greencoat in March 2019 | 151.3 | 129.5 | 109.9 | 121.3 | 257.8 | 261.3
Fairburn |  | 80.1 | 79.2 | 78.7 | 89 | 80.4 | 90.8
Gordonbush |  | 172.8 | 159.6 | 134 | 173.8 | 153.9 | 156.3
Gordonbush extension | Comissioned August 2021 | 64.3 | 40.1
Griffin & Calliacher |  | 293.7 | 208.4 | 256 | 307.9 | 287.6 | 361.9
Hadyard Hill |  | 205.6 | 189.1 | 184.1 | 197.5 | 166.1 | 212.1
Keadby |  | 151.7 | 147.2 | 162.9 | 170 | 157.7 | 180.8
Spurness |  | 35.8 | 39.3 | 41.4 | 42.4 | 35 | 49.1
Strathy North |  | 117.7 | 120.8 | 105.5 | 121.3 | 116.1 | 166.6
Stronelairg | 49.9% sold to Greencoat in March 2019 | 338.3 | 319 | 230.8 | 280.2 | 476.5
Tangy |  | 36.6 | 33.8 | 34.2 | 44.1 | 37.1 | 42
Toddleburn |  | 59.5 | 59.4 | 62.4 | 75.4 | 65 | 73.5
Tilbury | Sold June 2017 | na | na | na | na | na | 2
Total UK mainland |  | 2770.2 | 2502 | 2376.8 | 2676.2 | 2890.1 | 2773.985
Bessy Bell |  | 22.7 | 27.7 | 32.5 | 34.7 | 30.4 | 33.3
Glenconway |  | 95.9 | 92.1 | 93.7 | 118.2 | 80.7 | 75.5
Slieve Divena II | Sold Feburary 2020 | na | na | na | 51.5 | 49.9 | 48.8
Slieve Kirk |  | 70.9 | 63.6 | 70.4 | 74.4 | 62.1 | 51.6
Tievenameenta |  | 96.7 | 80.3 | 85.8 | 93.8 | 92 | 97
Total Northern Ireland |  | 286.2 | 263.7 | 282.4 | 372.6 | 315.1 | 306.2
Athea |  | 73.5 | 69.7 | 75.8 | 81.3 | 76.8 | 73.8
Bindoo |  | 97.9 | 80.8 | 95.7 | 105.4 | 101.3 | 106.1
Boggerah | ROI JV operated by 3rd party | 70 | 58.7 | 69.9 | 80.8 | 73.6364 | 76.6
Coomacheo |  | 106.5 | 87.2 | 99.6 | 112.8 | 101.7 | 107.5
Coomatalin |  | 19.7 | 16.6 | 13.8 | 14.9 | 13.9 | 20.9
Corneen |  | 5.2 | 6.8 | 10.6 | 9.6 | 8.2 | 7.6
Culliagh |  | 28.7 | 25.9 | 27.9 | 32 | 30 | 33.4
Curragh |  | 56.9 | 45.6 | 52 | 61 | 51.5 | 53.3
Dromada |  | 64.8 | 60.9 | 66.4 | 76.4 | 65.2 | 72.8
Dunneill |  | 19.4 | 19.5 | 19.7 | 27.3 | 26.8 | 26.9
Galway (CGT) - Uggool |  | 164.3 | 156.6 | 173.6 | 199.9 | 205.4 | 198.1
Galway (CGT) - Cloosh | SSE owned 50% stake until March 2019 when stake reduced to 25% through disposal | 78.2 | 71.6 | 80.6 | 88.9 | 182.95 | 146.45
Gartnaneane |  | 36.3 | 33.1 | 38.6 | 40.9 | 37.8 | 35.3
Kingsmountain |  | 51.6 | 49.4 | 52.3 | 58.5 | 59.7 | 59.6
Knockstanna |  | 12.7 | 10.4 | 12.8 | 14 | 14.4 | 18.7
Leanamore |  | 56 | 49.2 | 55.1 | 61.1 | 50.8 | 10.5
Midas | ROI JV operated by 3rd party | 33.2 | 23.6 | 36.3 | 45.8 | 31.7455 | 37
Meenbog |  | 35.9 | 34.5 | 20.7 | 39.2 | 41.6 | 45.2
Meentycat |  | 167.9 | 136.4 | 150.1 | 177.3 | 170.7 | 187.1
Mullananalt |  | 19.4 | 17.2 | 19.7 | 20.5 | 19.2 | 19.9
Rathcahill |  | 35.2 | 37.9 | 40.9 | 44.7 | 40.5 | 44.5
Richfield |  | 68.2 | 56.5 | 68.9 | 71.4 | 63.7 | 64.6
Tournafulla 1 & 2 |  | 55.3 | 48.5 | 56.1 | 67.4 | 56.5 | 63.5
Total Ireland |  | 1356.8 | 1196.6 | 1337.1 | 1531.1 | 1524.0318 | 1509.35
SSE Total Onshore Wind |  | 4413.2 | 3962.3 | 3996.3 | 4579.9 | 4729.2318 | 4589.535
OFFSHORE |  | GWh | GWh | GWh | GWh | GWh | GWh
Seagreen |  | 345.3 | na | na | na | na | na
Beatrice | Online early 2019 | 758.3 | 614 | 858.6 | 953.4 | 341 | na
Walney | Sold September 2020 | na | na | 105.3 | 351.1 | 308.6 | 381.8
Greater Gabbard |  | 742.2 | 815.8 | 881.1 | 939.2 | 788.3 | 935.2
Hunterston | Test site decommissioned | na | na | na | na | 1.2 | 2
Total Offshore Wind |  | 1845.8 | 1429.8 | 1845 | 2243.7 | 1439.1 | 1319
Notes
Electricity output based on SSE 100% share of wholly owned sites and % share of joint ventures
Wind output is at each station is net of constrained off generation and all actual renewable output is recorded post transmission loss adjustment factor; ROCs generation is based on entire station output
Biomass output at Slough is excluded and now part of SSE Distributed Energy

## Ren. Pipeline
SSE Renewables Project Pipeline
Accurate as at November 2023
Pipeline by stage | SSE share (MW) | Secured pipeline by technology |  | SSE share (MW) | Secured pipeline by Geography |  | SSE share (MW)
In construction | 2549 | Onshore wind inc. solar hybridisation |  | 3749 | Great Britain |  | 10924
Late-stage development | 2708 | Offshore wind |  | 8277 | Ireland |  | 1300
Early-stage development | 9269 | Pumped Storage |  | 1300 | Spain |  | 955
|  | Solar and Battery |  | 1200 | Other South. Europe |  | 1347
Total secured pipeline | 14526 | Total secured pipeline |  | 14526 | Total secured pipeline |  | 14526
Additional Future prospects | >13GW
Project | Technology | Location | Capacity (MW) | SSE Share (%) | SSE Share (MW) | Partner | Notes
Dogger Bank A | Offshore Wind | England | 1200 | 40% | 480 | Equinor & Vargronn | 100% under 15-year indexed CfD secured at £39.65/MWh in 2012 prices
Dogger Bank B | Offshore Wind | England | 1200 | 40% | 480 | Equinor & Vargronn | 100% under 15-year indexed CfD secured at £41.61/MWh in 2012 prices
Dogger Bank C | Offshore Wind | England | 1200 | 40% | 480 | Equinor & Vargronn | 100% under 15-year indexed CfD secured at £41.61/MWh in 2012 prices
Viking | Onshore Wind | Scotland | 443 | 100% | 443 | n/a | 100% under 15-year indexed CfD secured at £46.39 (50%) and £52.29/MWh (50%) in 2012 prices
Yellow River | Onshore Wind | Ireland | 101 | 100% | 101 | n/a | 100% under up-to 16.5 year partially indexed RESS-3 contract
Lenalea | Onshore Wind | Ireland | 30 | 50% | 15 | Colitte
Littleton | Solar PV | England | 30 | 100% | 30 | n/a
Salisbury | Battery Storage | England | 50 | 100% | 50 | n/a
Ferrybridge | Battery Storage | England | 150 | 100% | 150 | n/a
Monk Fryston | Battery Storage | England | 320 | 100% | 320 | n/a
Total in construction |  |  |  |  | 2549
Seagreen 1A | Offshore Wind | Scotland | 500 | 49% | 245 | Total
Strathy South | Onshore Wind | Scotland | 208 | 100% | 208 | n/a | 100% under 15-year indexed CfD secured at £52.29/MWh in 2012 prices
Aberarder | Onshore Wind | Scotland | 50 | 100% | 50 | n/a | 100% under 15-year indexed CfD secured at £52.29/MWh in 2012 prices
Bhlaraidh Extension | Onshore Wind | Scotland | 99 | 100% | 99 | n/a | 100% under 15-year indexed CfD secured at £52.29/MWh in 2012 prices
Other GB & Ireland | Onshore Wind | GB & Ireland | 117 | - | 87 | n/a | Drumnahough, Tangy Repowering
Spain (Various) | Onshore Wind | Spain | 319 | 100% | 319 | n/a
Other Southern Europe (various) | Onshore Wind | Italy, Greece, France | 100 | 100% | 100 | n/a
Coire Glas | Pumped storage | Scotland | 1300 | 100% | 1300 | n/a
ByPass | Solar PV | England | 50 | 100% | 50 | n/a
Fiddler's Ferry | Battery Storage | England | 150 | 100% | 150 | n/a
Tawnaghmore | Battery Storage | Ireland | 100 | 100% | 100 | n/a
Total late-stage development |  |  |  |  | 2708
Arklow Bank 2 | Offshore Wind | Ireland | 800 | 100% | 800 | n/a
Berwick Bank | Offshore Wind | Scotland | 4100 | 100% | 4100 | n/a
North Falls | Offshore Wind | England | 504 | 50% | 252 | RWE | Greater Gabbard Extension
Ossian | Offshore Wind | Scotland | 3600 | 40% | 1440 | Marubeni & CIP | ScotWind auction lease
Cloiche | Onshore Wind | Scotland | 125 | 100% | 125 | n/a
Other GB & Ire (Various) | Onshore Wind | GB & Ireland | - | - | 319 | n/a | Achany Extension, Inchamore, Gortyrahilly, Cummeennabuddoge, Sheskin South, Glenora
Spain (Various) | Onshore Wind | Spain | 636 | 100% | 636 | n/a
Other Southern Europe (various) | Onshore Wind | Italy, Greece, France | 1247 | 100% | 1247 | n/a
Staythorpe | Battery Storage | England | 350 | 100% | 350 | n/a
Total early-stage development |  |  |  |  | 9269
Total Secured Pipeline |  |  |  |  | 14526
Other GB onshore | Onshore Wind | Great Britain | - | - | c450 | n/a
Other Ireland onshore | Onshore Wind | Ireland | - | - | c200 | n/a
Spain | Onshore Wind | Spain | c1,750 | 100% | c1,750
Other Southern Europe | Onshore Wind | Italy, Greece, France | c450 | 100% | c450
Other GB Hydro | Hydroelectric | Great Britain | 75 | 100% | 75 | n/a
Dogger Bank D | Offshore Wind | England | c2,000 | 50% | c1,000 | Equinor | Current grid connection offer for 1,320MW (SSE share 660MW) with potential capacity for up to c2,000MW
Other Ireland offshore | Offshore Wind | Ireland | c3,000 | 100% | c3,000 | n/a
Japanese Projects | Offshore Wind | Japan | c6,000 | 80% | c4,800 | n/a
Other GB Solar | Solar PV | Great Britain | c400 | 100% | c400 | n/a
Poland Solar | Solar PV | Poland | c500 | 100% | c500
Other GB Battery | Battery Storage | Great Britain | c900 | 100% | c900 | n/a
Total future prospects |  |  |  |  | >13GW
Notes
All capacities are subject to change as projects refined.
Reflects ownership and development status as at November 2023
Onshore includes solar hybridisation
Late-stage is consented in GB and land or grid security elsewhere, early-stage has land/seabed rights in GB and some security over planning ot land elsewhere
Future prospects are named sites where non-exclusive development activity is underway

## Thermal Assets & Pipeline
SSE Thermal Capacity
Accurate as at 30 September 2023
| Summary totals | MW
| GB gas- and oil-fired | 5537.6
| Irish gas- and oil-fired | 672
| Coal-fired | zero
| Total Thermal generating capacity | 6209.6
| Capacity in development | MW
| CCS and Hydrogen projects | 3226
| Other | 477.5
| Total in development | 3703.5
SSE Thermal Capacity
| Asset | Location | Technology | SSE ownership | Partners | Capacity (MW) | SSE Capacity Share at Sep '23 | Eligible for Capacity Market | Commercial Year | Corrected LHV Efficiency (FY23) | Notes
Great Britain Gas- and oil-fired capacity
| Keadby 1 | England | CCGT | 100% |  | 732 | 732 | Yes | 1996 | 55%
| Keadby OCGT | England | OCGT | 100% |  | 23 | 23 | Yes | 2000 | 32%
| Keadby 2 | England | CCGT | 100% |  | 893 | 893 | Yes | 2023 | 63% | FEED study underway for potential hydrogen blending
| Medway | England | CCGT | 100% |  | 735 | 735 | Yes | 1995 | 54%
| Peterhead | Scotland | CCGT | 100% |  | 1180 | 1180 | Yes | Repowered 2000 | 56%
| Seabank | England | CCGT | 50% | CK Infrastructure Holdings Limited | 1234 | 617 | Yes | 2000 | Around 55% | Third party has offtake agreement for 100% of output from Sept 2021
| Marchwood | England | CCGT | 50% | Munich Re | 920 | 460 | Yes | 2010 | 58% | SSE has offtake agreement for 100% of output
| Burghfield | England | OCGT | 100% |  | 45 | 45 | Yes | 1999 | 38%
| Chickerell | England | OCGT | 100% |  | 45 | 45 | Yes | 1999 | 38%
| Saltend | England | CCGT & CHP | 50% | Equinor | 1200 | 600 | Yes | 2000 | 54% | Acquired September 2022, potential for hydrogen blending
| Indian Queens | England | CCGT | 50% | Equinor | 140 | 70 | Yes | 1996 | 29% | Acquired September 2022
| Total Great Britain |  |  |  |  | 7147 | 5400
Irish gas- and oil-fired capacity
| Great Island | Ireland | CCGT | 100% |  | 464 | 464 | Yes | 2014 | 58%
| Rhode | Ireland | OCGT | 100% |  | 104 | 104 | Yes | 2004 | 34%
| Tawnaghmore | Ireland | OCGT | 100% |  | 104 | 104 | Yes | 2003 | 34%
| Total Ireland |  |  |  |  | 672 | 672
| Total gas- and oil-fired capacity owned by SSE Thermal | [5 empty] | 6072
Gas storage capacity
| Aldbrough Gas Storage | England | Gas storage | 67% | Equinor | - | - | No | 2011 |  | 74mTh of storage capacity (SSE share)
| Atwick Gas Storage | England | Gas storage | 100% |  | - | - | No | 1979 |  | 118mTh of storage capacity
| Total | [9 empty] | 192mTh of storage capacity (SSE share)
| New-build Low-Carbon Development Projects and Opportunities | [5 empty] | See note 6
| Keadby 3 | England | CCGT with CCS | 50% | Equinor | 910 | 455 | Yes, but primary route DPA | na | na | Fully consented
| Peterhead CCS | Scotland | CCGT with CCS | 50% | Equinor | 910 | 455 | Yes, but primary route DPA | na | na | FEED study underway
| Medway / Thames-Bacton | England | CCGT with CCS / H2 | 100% |  | 910 | 910 | Yes, dependent on technology | na | na
| Protos / Hynet | England | CCGT with CCS / H2 | 100% |  | 910 | 910 | Yes, dependent on technology | na | na
| Keadby Hydrogen | England | CCGT with Hydrogen | 50% | Equinor | 892 | 446 | Yes | na | na
| Aldbrough Hydrogen Pathfinder | England | OCGT with Hydrogen | 100% |  | 50 | 50 | Yes | na | na | 35MW PEM Electrolyser, 20GWh storage cavern and 50MW OCGT progressing through Net Zero Hydrogen Fund process
| Aldbrough Hydrogen Storage | England | Hydrogen Storage | 50% | Equinor | - | - | No | na | na | Expected 320GWh Hydrogen storage capacity (for 100% of site)
| Tarbert Next Generation | Ireland | OCGT with Biofuel | 100% |  | 300 | 300 | Yes | na | na | 10-year capacity agreement in Irish T-4 Capacity Auction, to commence in 2026/27
| Platin | Ireland | OCGT with Biofuel | 100% |  | 157 | 150 | Yes | na | na | 10-year capacity agreement in Irish T-4 Capacity Auction, to commence in 2026/27
| Slough | England | Waste to Energy | 50% | Copenhagen Infrastructure Partners | 55 | 27.5 | Yes | na | na | In construction, expected to be operational in Summer 2024. 15-year capacity agreement in GB T-4 Capacity Auction, to commence in 2024/25
| Total | [5 empty] | 3703.5
Recent Disposals/Closures
| Tarbert | Ireland | Oil | 100% |  | 620 | 620 | Yes | 1970/1976 | n/a | Required to close by end of December 2023
| Ferrybridge Multifuel | England | Waste to Energy | 50% | Wheelabrator | 69 | 34 | Yes | 2015 | n/a | Sold October 2020
| Ferrybridge Multifuel 2 | England | Waste to Energy | 50% | Wheelabrator | 69 | 34 | Yes | 2019 | n/a | Sold October 2020
| Skelton Grange | England | Waste to Energy | 50% | Wheelabrator | 44 | 22 | No | na |  | Development project, sold October 2020
| Ferrybridge | England | Coal | 100% |  | closed | 0 | No | Closed March 2016 | n/a | Was 2GW when fully operational
| Fiddlers Ferry | England | Coal | 100% |  | closed | 0 | No | Closed March 2020 | n/a | Was 2GW when fully operational
Notes
1 | Prepared on best endeavours basis
2 | Capacities for are as per published Transmission Entry Capacity (TEC) where available, with an estimate provided for development opportunities without grid offers
3 | Corrected LHV efficiency based on energy sent out at peak efficiency, and corrected for site-specific ambient conditions
4 | CCGT : Combined Cycle Gas Turbine; OCGT Open Cycle Gas Turbine
6 | Project pipeline capacity does not necessarily relate to incremental capacity and may include repurposing
5 | Some smaller sites are not part of SSE's Thermal operations and are operated by SSEN Distribution or Distributed Energy
| Thermal Capacity Operated by SSEN Distribution | Location | Technology | Ownership |  | Installed Capacity (MW) | SSE Capacity Share at Sep '23 | Eligible for Capacity Market
| Lerwick | Scotland | OCGT | 100% |  | 67 | 67 | Yes
| Island Diesels | Scotland | Island Diesels | 100% |  | 70.6 | 70.6 | Yes

## Thermal Output
| SSE Thermal Output |  | Full year to 31/03/2023 | Full year to 31/03/2022 | Full year to 31/03/2021 | Full year to 31/03/2020 | Full year to 31/03/2019 | Full Year to 31/03/2018
| Summary totals |  | GWh | GWh | GWh | GWh | GWh | GWh
| GB gas- and oil-fired |  | 16781 | 11302.769 | 15324.3 | 12948.4 | 18323.2591 | 19151
| Irish gas- and oil-fired |  | 1532 | 2962.4 | 2433.1 | 2436.3 | 1860.98 | 2739.145
| Energy from waste |  | na | na | 251.2 | 395.467 | 293.7 | 289
| Coal-fired |  | na | na | na | 1945.6 | 579.2 | 1461.9
| Total Thermal generating capacity |  | 18313 | 14265.169 | 18008.6 | 17725.767 | 21057.1391 | 23641.045
| SSE Thermal Output |  | GWh | GWh | GWh | GWh | GWh | GWh
GB
| Keadby | 100% | 2109 | 907.4 | 1863.4 | 1725.3 | 2567.5135 | 2437
| Keadby 2 | 100%, 1,184GWh of pre-commissioning output excluded in FY23 | 0
| Medway | 100% | 1640 | 590.1 | 2219.3 | 1306.5 | 1671.0721 | 2204.8
| Peterhead | 100% | 3435 | 2140 | 3363.1 | 3821.6 | 4739.6933 | 3369.8
| Seabank | 100% of output up to Sept 2021, when offtake agreement expired, and 50% thereafter | 2388 | 2071.4 | 2896.5 | 2322 | 3402.8852 | 5601.3
| Marchwood | 100% PPAs as per contractual arrangments | 5451 | 5425.8 | 4786.2 | 3623.6 | 5754.795 | 5213.4
| Saltend | Joint aquired with Equinor Sept 2022, 50% share | 1649
| Indian Queens | Joint aquired with Equinor Sept 2022, 50% share | 2
| Burghfield and Chickerell | 100% | 26 | 19.6 | 37.4 | 28.6 | 25.6 | 21
| CHPs | closed April 2019 | na | na | na | na | 56.7 | 189.7
| Total GB Thermal Business Generation Output (GWh) |  | 16700 | 11154.3 | 15165.9 | 12827.6 | 18218.2591 | 19037
Ireland
| Great Island CCGT |  | 1272 | 2294.2 | 2171.9 | 2327.3 | 1795.48 | 2706.6333
| Tarbert |  | 216 | 592.9 | 246.8 | 102.8 | 54.8 | 25.8147
| Rhode |  | 33 | 60.8 | 11.1 | 5.5 | 6.7 | 5.1059
| Tawnaghmore |  | 11 | 14.5 | 3.3 | 0.7 | 4 | 1.5911
| Total Irish thermal output GWh |  | 1532 | 2962.4 | 2433.1 | 2436.3 | 1860.98 | 2739.145
Energy from Waste
| Ferrybridge Multifuel | 50% of output until sold in 2020 | na | na | 251.2 | 395.467 | 293.7 | 289
Coal-fired Output
| Fiddlers Ferry | site closed 31 March 2020 | na | na | na | 1945.6 | 579.2 | 1461.9
Notes
1 | Prepared on best endeavours basis
2 | Generation ouput GB is total net exported Metered Data @ NBP (sometimes estimated at period end). Eire is data final as published by Single Electricity Market Operator
| Plant operated by Distribution |  | GWh | GWh | GWh | GWh | GWh | GWh
| Lerwick |  | 78 | 100.8 | 92.2 | 98.8 | 104 | 113
| Small island diesels |  | 3 | 47.669 | 66.2 | 22 | 1 | 1

## GB Cap. Payments
SSE Capacity Payment Schedule
| Last Updated | 2023-03-31
| T-1 and T-4 Contracts (includes multi-year contracts in T-4 capacity and value figures) | [10 empty] | Multi-year Contracts (included in t-4 capacity and value in main table)
[6 empty] | Contract Year (Oct to Sep) |  |  | SSE Financial Year (Apr - Mar)
| Delivery Year/ Financial Year | Auction | Contract price £/Kw |  |  | Totals | Renewables | Thermal | Totals | Renewables | Thermal | Unit | Business Unit | Length of Contract (years) | First Delivery Year | Capacity Obligation (MW) | Clearing Price* (£/kW) | Base Year | Approx Revenue Each Winter (Oct-March) of Contract (£m) | Approx Revenue Each Summer (March-Sept) Of Contract (£m)
| 2017/18 | T-1 | 6.95 |  | Capacity (MW) | 5035.5085 | 840.016 | 4195.4925 | - |  |  | Keadby 2 | Thermal | 15 | 2023/24 | 804 | 15.97 | 2018/19 | 7.0619 | 5.7779
[5 empty] | Value (£m) | 34.9968 | 5.8381 | 29.1587 | 19.0727 | 3.1817 | 15.891 | Slough Multifuel | Thermal | 15 | 2024/25 | 42 | 18 | 2019/20 | 0.4158 | 0.3402
|  | Total |  |  | Capacity (MW) | 5035.5085 | 840.016 | 4195.4925 |  |  |  | Gordonbush Extension | Renewables | 15 | 2024/25 | 3 | 18 | 2019/20 | 0.0297 | 0.0243
[5 empty] | Value (£m) | 34.9968 | 5.8381 | 29.1587 | 19.0727 | 3.1817 | 15.891
| 2018/19 | T-4 | 19.4 | p | Capacity (MW) | 4994 | 846.814 | 4149.676 | - |  |  | Notes
|  |  | 20.8285 | a | Value (£m) | 104.0176 | 17.6379 | 86.4316 | 57.2097 | 9.6688 | 47.3804 | 1 Clearing prices subject to CPI indexation
|  | T-1 | 6 | p | Capacity (MW) | 1045 | 0 | 1044.772 | - |  |  | 2 The above contracts are included within the capacity and value rows for t-4 contracts in the main table
|  |  |  | a | Value (£m) | 6.2686 | 0 | 6.2686 | 19.3604 | 2.6564 | 16.704
|  | Total |  |  | Capacity (MW) | 4994 | 846.814 | 5194.448 | -
[5 empty] | Value (£m) | 110.2862 | 17.6379 | 92.7002 | 76.5701 | 12.3252 | 64.0844
| 2019/20 | T-4 | 18 | p | Capacity (MW) | 5340 | 854.624 | 3876.188
|  |  | 19.2747 | a | Value (£m) | 91.1849 | 16.4726 | 74.7123 | 86.017 | 17.0254 | 68.9916
|  | T-1 | 0.77 |  | Capacity (MW) | 33.3255 | 0 | 33.3255
[5 empty] | Value (£m) | 0.01283 | 0 | 0.01283 | 13.9815 | 0 | 13.9815
|  | Total |  |  | Capacity (MW) | 5373.3255 | 854.624 | 3909.5135 | -
[5 empty] | Value (£m) | 91.1977 | 16.4726 | 74.7251 | 99.9985 | 17.0254 | 82.9731
| 2020/21 | T-4 | 22.5 | p | Capacity (MW) | 5456 | 872.646 | 3968.8915 | -
|  |  | 24.38 | a | Value (£m) | 118.0367 | 21.2751 | 96.7616 | 97.223 | 19.2051 | 78.0178
|  | T-1 |  |  | Capacity (MW)
[5 empty] | Value (£m) |  |  |  | 9.1301 | 0 | 9.1301
|  | Total |  |  | Capacity (MW) | 5456 | 872.646 | 3968.8915 | -
[5 empty] | Value (£m) | 118.0367 | 21.2751 | 96.7616 | 106.3531 | 19.2051 | 87.1479
| 2021/22 | T-4 | 8.4 | p | Capacity (MW) | 5341.347 | 805.599 | 4535.748 | -
|  |  | 9.005 | a | Value (£m) | 43.036 | 7.2544 | 35.7816 | 76.1473 | 13.505 | 62.6423
|  | T-1 | 45 |  | Capacity (MW) | 74.966 | 74.966 | 0 | -
|  |  | 45 |  | Value (£m) | 3.3735 | 3.3735 | 0 | 1.868 | 1.868 | 0
|  | Total |  |  | Capacity (MW) | 5416.313 | 880.565 | 4535.748 | -
[5 empty] | Value (£m) | 46.4095 | 10.6279 | 35.7816 | 78.0153 | 15.3729 | 62.6423
| 2022/23 | T-3 | 6.44 | p | Capacity (MW) | 3963.1275 | 888.5295 | 3074.598 | -
|  |  | 7.1214 | a | Value (£m) | 28.223 | 6.3276 | 21.8955 | 34.8481 | 6.7445 | 28.1036
|  | T-1 | 75 | p | Capacity (MW) | 2293.266 | 0 | 2293.266 | -
[5 empty] | Value (£m) | 171.995 | 0 | 171.995 | 96.8298 | 1.5055 | 95.3243
|  | Total |  |  | Capacity (MW) | 6256.3935 | 888.5295 | 5367.864 | -
[5 empty] | Value (£million) | 200.218 | 6.3276 | 193.8904 | 131.6779 | 8.25 | 123.4279
| 2023/24 | T-4 | 15.97 | p | Capacity (MW)* | 4766.6275 | 888.5295 | 3878.098
|  |  | 15.97 | p | Value (£m)* | 76.123 | 14.1898 | 61.9332 | 54.4487 | 10.6251 | 43.8237
|  | T-1 | 60 | p | Capacity (MW) | 1503.0239 | 15.7375 | 1487.2863
[5 empty] | Value (£million) | 90.1814 | 0.94425 | 89.2372 | 126.2704 | 0.51934 | 125.7511
|  | Total |  |  | Capacity (MW) | 6269.6514 | 904.267 | 5365.3843
[5 empty] | Value (£m) | 166.3045 | 15.1341 | 151.1704 | 180.7191 | 11.1444 | 169.5747
| 2024/25 | T-4 | 18 | p | Capacity (MW)* | 4792.3598 | 892.6967 | 3899.663 | -
|  |  | 18 | p | Value (£m)* | 84.631 | 16.0685 | 68.5624 | 80.8024 | 15.2231 | 65.5793
|  | T-1 |  |  | Capacity (MW)
[5 empty] | Value (£m) |  |  |  | 40.5816 | 0.42491 | 40.1567
|  | Total |  |  | Capacity (MW) | 4792.3598 | 892.6967 | 3899.663 | -
[5 empty] | Value (£m) | 84.631 | 16.0685 | 68.5624 | 121.384 | 15.648 | 105.736
| 2025/26 | T-4 | 30.59 | p | Capacity (MW)* | 5571.1255 | 914.484 | 4656.6415 | -
|  |  | 30.59 | p | Value (£m)* | 158.4037 | 27.9741 | 130.4297 | 125.1854 | 22.596 | 102.5894
|  | T-1 |  |  | Capacity (MW)
[5 empty] | Value (£million) |  |  |  | 0 | 0 | 0
|  | Total |  |  | Capacity (MW) | 5571.1255 | 914.484 | 4656.6415 | -
[5 empty] | Value (£m) | 158.4037 | 27.9741 | 130.4297 | 125.1854 | 22.596 | 102.5894
| 2026/27 | T-4 | 63 | p | Capacity (MW)* | 6340.8511 | 908.9273 | 5431.9238 | -
|  |  | 63 | p | Value (£m)* | 360.7216 | 57.2624 | 303.4592 | 269.5883 | 43.9924 | 225.5959
|  | T-1 |  |  | Capacity (MW)
[5 empty] | Value (£m) |  |  |  | 0 | 0 | 0
|  | Total |  |  | Capacity (MW) | 6340.8511 | 908.9273 | 5431.9238 | -
[5 empty] | Value (£m) | 360.7216 | 57.2624 | 303.4592 | 269.5883 | 43.9924 | 225.5959
* includes adjustment for multi-year contracts
Notes
1 | Prepared on best endeavours basis
2 | Capacities are in line with de-rating factors issued by the delivery body for each contract year, therefore will not directly match SSE's published station capacities
3 | Contract payments are weighted depending on demand weighting and are calculated by EMRS on behalf of the ESC. Currently assumes 55% weighting Oct - March; 45% weighting Apr - Sept.
4 | Where relevant, the table allows for SSE's equity share of JV capacity contract volumes and income including Triton Power which is included from 1 September 2022
5 | JV capacity volumes and income do not necessarily account for secondary capacity market trading
6 | The above table does include Peterhead's contract year 19/20 and 20/21 secured on the secondary market.
7 | p (published at time of auction); a (actual based on CPI)
8 | Clearing price in the t-4 auctions are subject to CPI Indexation. The above table allows for adjusted clearing prices as confirmed by EMRS only i.e. up to and including the current Delivery Year. For future years, no assumption is being made on the rate of Indexation that will apply.
9 | More info published here - https://www.emrdeliverybody.com/sitepages/home.aspx.
10 | Due to the temporary suspsension of GB capacity market payments relating to contract yar 2018/19; Sept 2018 to March 2019 payments were received by SSE in its financial year 2019/20.

## Ire. Cap. Payments
SSE Capacity Payment Schedule
| Last Updated | 2023-09-30
[6 empty] | Contract Year (Oct-Sep) |  |  | SSE Financial Year (Apr-Mar) |  |  | Multi-year Contracts (included in t-4 capacity and value in main table)
| Delivery Year/ Financial Year | Auction | Contract price €/MW |  |  | Total | Renewables | Thermal | Total | Renewables | Thermal | Unit | Business Unit | Length of Contract (years) | First Delivery Year | Capacity Obligation (MW) | Clearing Price (€/MW) | Annual Revenue (€m)
| 2018/19 | T-1 | 41800 | p | Capacity (MW) | 1073.776 | 0 | 1073.776 |  |  |  | Platin Biofuel | Thermal | 10 | 2026/27 | 139.887 | 176850 | 24.739
|  |  |  | a | Value (€m) | 44.8838 | 0 | 44.8838 | 22.4419 | 0 | 22.4419 | Tarbert Biofuel | Thermal | 10 | 2026/27 | 259.5 | 128660 | 33.3873
|  | Total |  |  | Capacity (MW) | 1073.776 | 0 | 1073.776 | -
[5 empty] | Value (€m) | 44.8838 | 0 | 44.8838 | 22.4419 | 0 | 22.4419 | Notes
| 2019/20 | T-1 | 40645.66 |  | Capacity (MW) | 1115.998 | 12.06 | 1103.938 |  |  |  | 1 The above contracts are included within the capacity and value rows for t-4 contracts in the main table
[5 empty] | Value (€m) | 45.3605 | 0.49019 | 44.8703 | 45.1222 | 0.24509 | 44.8771
|  | Total |  |  | Capacity (MW) | 1115.998 | 12.06 | 1103.938 | -
[5 empty] | Value (€m) | 45.3605 | 0.49019 | 44.8703 | 45.1222 | 0.24509 | 44.8771
| 2020/21 | T-1 | 46150 | p | Capacity (MW) | 1053.747 | 11.007 | 1042.74
|  |  |  | a | Value (€million) | 48.6304 | 0.50797 | 48.1225 | 46.9954 | 0.49908 | 46.4964
|  | Total |  |  | Capacity (MW) | 1053.747 | 11.007 | 1042.74 | -
[5 empty] | Value (€m) | 48.6304 | 0.50797 | 48.1225 | 46.9954 | 0.49908 | 46.4964
| 2021/22 | T-2 | 45950 | p | Capacity (MW) | 1060.7942 | 18.055 | 1042.7392
|  |  |  | a | Value (€m) | 48.7435 | 0.82963 | 47.9139 | 48.687 | 0.6688 | 48.0182
|  | Total |  |  | Capacity (MW) | 1060.7942 | 18.055 | 1042.7392
[5 empty] | Value (£m) | 48.7435 | 0.82963 | 47.9139 | 48.687 | 0.6688 | 48.0182
| 2022/23 | T-4 | 46150 | p | Capacity (MW) | 589.202 | 0 | 589.202
|  |  |  | a | Value (€million) | 27.1917 | 0 | 27.1917 | 37.9676 | 0.41481 | 37.5528
|  | T-1 | 46150 |  | Capacity (MW) | 481.387 | 22.779 | 458.608
[5 empty] | Value (€m) | 22.216 | 1.0513 | 21.1648 | 11.108 | 0.52563 | 10.5824
|  | Total |  |  | Capacity (MW) | 1070.589 | 22.779 | 1047.81
[5 empty] | Value (€m) | 49.4077 | 1.0513 | 48.3564 | 49.0756 | 0.94044 | 48.1351
| 2023/24 | T-4 | 46149 | p | Capacity (MW) | 604.629 | 24.049 | 580.58
|  |  |  | a | Value (€m) | 27.903 | 1.1098 | 26.7932 | 27.5473 | 0.55492 | 26.9924
|  | T-1 |  |  | Capacity (MW)
[5 empty] | Value (€m) |  |  |  | 11.108 | 0.52563 | 10.5824
|  | Total |  |  | Capacity (MW) | 604.629 | 24.049 | 580.58
[5 empty] | Value (€m) | 27.903 | 1.1098 | 26.7932 | 38.6554 | 1.0805 | 37.5748
| 2024/25 | T-4 | 47820 | p | Capacity (MW) | 599.155 | 29.307 | 569.848
|  |  |  | a | Value (€million) | 28.6516 | 1.4015 | 27.2501 | 28.2773 | 1.2556 | 27.0217
|  | T-1 |  |  | Capacity (MW)
Value (€m)
|  | Total |  |  | Capacity (MW) | 599.155 | 29.307 | 569.848
[5 empty] | Value (€m) | 28.6516 | 1.4015 | 27.2501 | 28.2773 | 1.2556 | 27.0217
| 2025/26 | T-4 | 46000 | p | Capacity (MW) | 600.291 | 30.443 | 569.848
|  |  |  | a | Value (€m) | 27.6134 | 1.4004 | 26.213 | 28.1325 | 1.4009 | 26.7316
|  | T-1 |  |  | Capacity (MW) |  |  |  | -
Value (€m)
|  | Total |  |  | Capacity (MW) | 600.291 | 30.443 | 569.848
[5 empty] | Value (€m) | 27.6134 | 1.4004 | 26.213 | 28.1325 | 1.4009 | 26.7316
| 2026/27 | T-4 | See note 5 | p | Capacity (MW) | 999.681 | 30.446 | 969.235
|  |  |  | a | Value (€million) | 107.9807 | 2.5285 | 105.4522 | 67.797 | 1.9645 | 65.8326
|  | T-1 |  |  | Capacity (MW)
Value (€m)
|  | Total |  |  | Capacity (MW) | 999.681 | 30.446 | 969.235
[5 empty] | Value (€m) | 107.9807 | 2.5285 | 105.4522 | 70.6791 | 1.9645 | 68.7147
| 2027/28 | T-4 | 106666.67 | p | Capacity (MW) | 945.15 | 20.411 | 924.739
|  |  |  | a | Value (€m) | 116.341 | 2.1772 | 114.1638 | 112.1609 | 2.3529 | 109.808
|  | T-1 |  |  | Capacity (MW)
Value (€m)
|  | Total |  |  | Capacity (MW) | 945.15 | 20.411 | 924.739
[5 empty] | Value (€m) | 116.341 | 2.1772 | 114.1638 | 112.1609 | 2.3529 | 109.808
Notes
1 | Prepared on best endeavours basis
2 | Capacities are in line with the de-rating factors published for the relevant auction process, therefore will not directly match SSE's published station capacities
3 | With the exception of the Tarbert (259.MW @ €128,660) and Platin (140MW @ €176,850) projects both of which secured 10-year New Build contracts, all units secured a contract for 2026/27 at the auction clearing price of €83,050/MW
4 | The totals for the t-4 auctions from 2026/27 onwards include the multi-year contracts awarded for that Delivery Year, the details of which are given in Note 5